Medical device: Mercury Thermometer

Hazard: Mercury

The sequence of events:

* Accidental breakage of the glass ball that contains mercury (Event 1)
* Skin contact and inhalation of a dangerous amount of mercury

Hazardous Situation: Mercurialism.

Harm: Chest pain, shortness of breath, nausea, and kidney and central nervous system damage.

Severity: Serious

Probability: Remote

Risk: Investigate further risk reduction